Approved by: …………………..

Dean

Date.............................

SOFIA UNIVERSITY “ST. KLIMENT OHRIDSKI”

# Faculty: Faculty of Physics

Subject area: (code and name)

.....................................................

Bachelor  Program: (code and name)

Nuclear and Particle Physics.

# S Y L L A B U S

| Course: Nuclear electronics |  |  |  |
| --- | --- | --- | --- |

### (code and name)

### Lecturer: Ilko Rusinov, Assoc. Prof.

| Academic work | Components | Acad. hours |
| --- | --- | --- |
| In-class work | Lectures | 45 |
|  | Seminars | - |
|  | Practical exercises ( laboratory) | 45 |
| Total in-class work |  | 90 |
| Out-of-class work | Home work with literature sources and problem-solving | 90 |
| Total out-of-class work |  | 90 |
| TOTAL ACADEMIC WORK |  | 90 |
| ECTS credits in-class work |  | 3 |
| ECTS credits out-of-class work |  | 3 |
| TOTAL ECTS CREDITS |  | 6 |

| № | Grade components | % of the grade |
| --- | --- | --- |
|  | Homework | 10 |
|  | Two written tests | 20 |
|  | ###### Laboratory | 20 |
|  | Final exam | 50 |
| Outline of the course: |  |  |
| The subject of the course is the field of electronics applied to acquisition and processing of electrical signals generated by various types of radiation detectors. Basic principles and building blocks used for amplification, shaping, transmission, and analog-to-digital conversion of signals are studied. The students get acquainted with the techniques for amplitude and timing data acquisition. Among the included topics are: preliminary amplification of pulses by voltage and charge sensitive amplifiers, various means of pulse shaping, integrators, appropriate analog-to-digital conversion schemes, time-to-amplitude conversion, single- and multi-channel analyzers, simulation of some electrical circuits with basic application, etc. In the laboratory the students assemble and investigate some relevant electronic circuits using analog, digital and mixed-signal integrated circuits and discreet components. Some pre-assembled modules are also used. |  |  |

###### Preliminary requirements:

Successfully taken course in general electronics

Key competences acquired:

Knowledge and practical skills in analogue and digital nuclear electronics

#### Lessons plan

| № | Topic: | Acad. hours |
| --- | --- | --- |
|  | Lectures |  |
|  | General structure of the experimental set-up for energy and time measurements in nuclear physics. Common types of ionizing radiation detectors − overview. | 3 |
|  | Calculation of linear electric circuits. Laplace transform. General considerations of pulse signal shaping. | 3 |
|  | Bode plots and transient response of 1,2- stage amplifiers. | 2 |
|  | Negative feedback. Basic circuits with operational amplifiers. | 2 |
|  | CR-(RC)n - shaping of detector pulse signals. Modeling by numerical solution of differential equations. | 4 |
|  | Delay-line shaping. Gated integrator. | 1 |
|  | Noise and resolution. Signal-to-noise ratio. Optimal filtering. | 1 |
|  | Charge sensitive preamplifier. Resistive feedback. Transistor and optical reset. | 2 |
|  | Baseline restorer. | 1 |
|  | General structure of the linear shaping amplifier. | 3 |
|  | Linear gates. Pulse stretchers (peak detectors) and sample-and-hold circuits. . | 2 |
|  | Fast timing. Leading-edge and constant-fraction discriminators. The coincidence technique. | 3 |
|  | Flip-flops: RS, JK, D, T- types. Pulse counters: asynchronous, synchronous, binary, decimal. | 2 |
|  | Usage of high-density programmable logic devices. | 2 |
|  | Application of pulse counters in the experiment. Gated counting. Multi-channel scalers. | 2 |
|  | Single channel analyzers. | 2 |
|  | Analog-to-digital conversion (ADC). Main characteristics. Gain, offset errors; linearity, integral and differential nonlinearity; quantization error. Flash ADC. | 2 |
|  | Successive approximation ADC. Digital-to-analog converters, R-2R ladder. Sliding scale (Gatti) method for reducing the differential nonlinearity. Channel profile. | 2 |
|  | ADC with amplitude-to-time conversion (Wilkinson type). | 2 |
|  | Measurement of time intervals. Time-to-amplitude/ time-to-digital converters. | 2 |
|  | Multi-channel amplitude analyzers. | 2 |
|  | Practical exercises (Laboratory) |  |
| - 1 | Linear shaping amplifier. | 4 |
|  | Baseline restorer circuits. | 3 |
|  | Charge sensitive preamplifier. | 3 |
|  | Peak detector. Amplitude-to-time conversion. | 4 |
|  | Voltage comparators. Leading-edge timing. Event coincidence. | 4 |
|  | Constant fraction discriminator. | 3 |
|  | Pile-up rejector. | 2 |
|  | Pulse delay circuits. | 4 |
|  | Active signal integration. | 3 |
|  | Pulse signal transmission over cables. Passive and active signal splitters. | 3 |
|  | Combinatorial logic. RS, JK, D flip-flops. Conversion of logic standards. | 3 |
|  | Programmable logic. Asynchronous and synchronous pulse counters. | 5 |
|  | Photoelectric multiplier in current and pulse mode. | 4 |

Topics Covered on the Final Exam

| № | Topic |
| --- | --- |
| 1 | The final examination is based on a written test comprising questions and problems relevant to the topics covered in the lectures and the laboratory exercises. A set of example problems is given to the students at the start of the course. |

Bibliography

1. The Art of Electronics, Horowitz and Hill, Cambridge University Press, NY 1980/1989;             2. Electronics for Experimentation and Research, Brian Jones, Prentice-Hall 1986; 3. Applications of Analog Integrated Circuits, Sidney Soclof, Prentice-Hall 1985; 4. Nuclear Electronics, P.W. Nicholson, John Wiley & Sons 1974; 5. Nuclear Electronics, E. Kowalsky, Springer Verlag 1970; 6. Selected topics in nuclear electronics (Technical document issued by IAEA, Vienna, 1986);         7. Particle detectors, Claus Gruppen et al, Cambridge University Press, Cambridge 1996.

Author:

Ilko Rusinov

/   Ilko Rusinov   /